SOP #05-07

Field Sanitation - Employee Drinking Water

Created: 4/21/08

Updated by: Jonathan Dinsmore

Purpose:

To insure water intended for employee consumption is suitable to prevent employee illness, as well as potential product contamination.

Policy:

All water provided for employee consumption shall be potable.

Program:

- The foreman or appropriate representative shall collect water daily in Igloo coolers or similar containers from a proper source as listed below:

  - Municipal water supply

  - Well water with recent test results indicating findings of  <1mpn E. Coli/100 mL and <1mpn E. Coli 0157:H7/100 Ml

- Drinking water is to be placed within one-quarter mile or within 5 minutes walking distance of employees

- Single-use disposable cups shall be provided and discarded of properly

- Mandatory properly lined trash receptacles shall be provided for disposal of cups

- Mandatory properly lined trash receptacles shall be placed in an immediate location to crew.