SOP #05-09

Field Sanitation – Water-Sampling Procedure

Created: 4/21/08

Updated by Jonathan Dinsmore

Purpose:

To ensure proper sampling of potable and waste water for microbiological testing.

Safety Precautions:

1. Wear disposable, non-powdered latex gloves at all times when sampling.

2. Wear clothing appropriate to the conditions in the sample area.

3. Be careful when sampling around moving equipment.

4. At no time should the source of the sample water be used for drinking.

Supplies:

Alcohol wipes

Gel ice packs

Cooler

Sharpie marker

Rubber gloves

Sterile bags or sterile bottles

REMARKS:

1. Do not open bag or bottle until just before taking the water sample.

2. At no time should the sampler’s fingers come in contact with the inside of the bag or bottles.

3. Collect samples for microbiological examination in sterile plastic bags or bottles. If necessary, ensure the sample bag or bottle contains sodium thiosulfate. Contact the microbiology lab for instructions.

4. If sampling open tanks, rivers, reservoirs or other sources that require dipping the container into the source, sterile bottles are required as sample containers.

5. The time between collection and analysis of sample shall not exceed 24 hours.

6. Use a new pair of latex gloves for each sample.

PROCEDURE:

Preparation

- Using a permanent marker, record the sample I.D. on the sample bag or bottle

- When submitting the samples at the laboratory, the water-sampling information shall also be submitted with the following:

a. Sample I.D.

b. Date

c. Water source

d. Ranch

e. Source I.D.

f. Time

g. GPS coordinates

h. Point of entry

i. Required analysis

j. Area (i.e. San Juan Bautista, Salinas or Bard)

2. Proceed to sample area.

3. Before opening sample container, put on rubber gloves.

Potable Water & Wastewater

Distribution System

1. If the water sample is to be taken from a distribution system tap without attachments, select a tap that is supplying water from a service pipe directly connected with the main and is not, for example, served from a cistern or storage tank.

2. Open tap fully and let water run to waste for at least 30 seconds, or for a time sufficient enough to permit flushing of the entire service line, whichever is longer.

3. Slowly fill the bag to the indicated line and close bag or fill the sterile bottle to the top, leaving no air gap, and cap the bottle. Do not let the container overflow if sodium thiosulfate is used.

Rivers, Streams, Lakes, Reservoirs and Canals

1. Samples shall be representative of the water that is the source of supply to consumers. It is undesirable to take samples too near the bank or too far from the point of drain-off, or at depth above or below the point of drain-off.

2. Grasp a bottle by its base and plunge into the water source with the neck facing down.

3. Turn the bottle until the neck is pointing slightly upward and the mouth is directed toward current (if any) and allow bottle to fill. After filling, remove bottle from water with the neck pointing up; there should be no air gap.

4. Tightly cap the bottle

5. Using a golf ball retriever, attach the sample bag to the end and dip directly into the stream of water.

Transportation

1. Place the sample in the cooler and attach to the side of the cooler in an upright position with masking tape to prevent sample from sliding about cooler and puncturing.

2. Place a sufficient amount of gel ice packs in the cooler to keep samples cold during transport to laboratory.

3. Close the lid of the cooler and ensure it is secure.

4. Transport the samples to the laboratory.

Receipt of Sample

1. When the sample is received in the lab, remove it from the cooler.

2. Inspect the container for leaks or other damage that might affect the sample.

3. Immediately place sample in the refrigerator in an upright position.

Holding Time and Temperature

Start microbiological examination of water sample promptly after collection to avoid unpredictable changes. Hold temperature of all stream pollution, drinking and wastewater samples below 10 degrees C during a maximum transport time of six hours. Refrigerate the samples upon receipt at the laboratory and process within two hours. Unfortunately, these requirements seldom are realistic in the case of individual potable water samples shipped by the client to the laboratory by mail, bus, etc., but the elapsed time between collection and examination shall not exceed 24 hours.